## Sheet1
Item | Yes | No | N/A | Comments
Construction / Safety
AED installed | c | c | c
Alarm training provided for Security and Safety | c | c | c
Alarms tested, manuals provided (reports on file) | c | c | c
Alarm system PA Override tested (if applicable) | c | c | c
All hazards removed from guest self-serve drink stations (sharp points, edges, etc.) | c | c | c
All outdoor overhead hazards removed. Includes debris that may become air born | c | c | c
All sink/wet areas have GFCI receptacles | c | c | c
All Smoke detector dust covers removed | c | c | c
All sprinkler head protective covers removed | c | c | c
All Strobe dust covers removed | c | c | c
Ansul systems certified and tagged (reports on file) | c | c | c
Any deadbolts installed during construction have been removed (exterior doors) | c | c | c
Electrical panels labeled | c | c | c
Elevator inspected and certified. | c | c | c
Emergency assembly areas BOH signage in place | c | c | c
Emergency Exit lights in place | c | c | c
Emergency Exit Only signs in place as needed | c | c | c
Emergency lighting in place | c | c | c
Emergency response procedures booklets in place | c | c | c
Emergency response walk-thru with local police and fire departments – entrances, tour, etc. | c | c | c
Exterior walkways / walking surfaces free of hazards | c | c | c
Exterior lighting (walkways, parking) | c | c | c
Eye Wash Stations in place | c | c | c
FDC (Fire Department Connection) sign(s) in place | c | c | c
Fire Extinguishers in place and service-tagged: Also note types of Fire Extinguishers (ex. A, B, C, Electrical, Halotron) | c | c | c
Fire Lane marked | c | c | c
Fire Pulls at exits | c | c | c
Fire Suppression system tested and tagged (reports on file) | c | c | c
Fire Suppression (Server Rooms) tested and tagged (reports on file) | c | c | c
Fire suppression enclosure integrity test complete (reports on file) | c | c | c
Fire Suppression systems training for Security and Safety | c | c | c
First Aid cabinets installed | c | c | c
Floor plan drawing to fire department (if requested). This drawing should not identify sensitive areas of the property (count, vault). In the past what I’ve done is provide a drawing showing where all rooms are located – restrooms, BOH, offices, etc. What is critical is to identify all electrical rooms and panels, as well as combustible storage and any gas canisters (CO2). | c | c | c
Grab rails installed in handicap restroom stalls | c | c | c
Guest emergency assembly areas identified and documented with Security | c | c | c
Fire Hydrants flow tested with Fire Department (report on file) | c | c | c
Interior Outlets/Plates are Identified | c | c | c
Interior walkways / walking surfaces free of hazards | c | c | c
Lighting on backup power tested | c | c | c
Parking Spaces - Number of Regular / Handicapped / Motorcycle | c | c | c
MSDS stations in place w/ signage | c | c | c
Pipes wrapped under restroom sinks | c | c | c
Potable Water System | c | c | c
Security and Facilities Maintenance trained to shutoff utilities | c | c | c
Sharps containers installed | c | c | c
Verify any PM requirements for Fire Tank level indication, controls and pump are in place w/ Facilities Maintenance | c | c | c
Risk Management Items
Electrical System
All outlets path to ground? | c | c | c
Breaker Boxes properly labeled | c | c | c
Extension Cords or attachment plugs not used for permanent wiring | c | c | c
Filler Space Covers | c | c | c
GFCI Protection | c | c | c
No open wiring | c | c | c
Three (3) feet of clear floor space provided to panels & elec. equip. | c | c | c
Walking areas free from extension cords | c | c | c
Hazardous Chemicals
Containers must be labeled | c | c | c
Disposal Procedures Adopted | c | c | c
Eye Wash stations in place | c | c | c
Procedures in place | c | c | c
Sanitation
Bio-Hazard disposal program in place? | c | c | c
Employees trained in Blood Borne Pathogens? | c | c | c
Wastewater treated & disposed by local government? | c | c | c
What method(s) used to dispose of solid waste? | c | c | c
Office of Environmental Health Items
Food Inspection Report Items
Food (PHF) Temperature / Time Requirements
Proper Cooling for Cooked / Prepared Food (135° F - 70° F in 2 hrs. / 70° F - 41° F in 4 hrs.) | c | c | c
Cold Hold (41° F) / Time Control | c | c | c
Hot Hold (135° F) / Time Control | c | c | c
Proper Cooking Temperatures per PHF | c | c | c
Rapid Reheating (165° F in 2 hrs.) | c | c | c
Personnel / Handling / Source Requirements
Personnel with Infections Restricted / Excluded | c | c | c
Proper Hand Washing / Proper Handling of Ready-To-Eat Foods | c | c | c
Good Hygienic Practices (Eating / Drinking / Smoking / Other) | c | c | c
Approved Source / Sound Condition | c | c | c
Food Protected during Storage, Display, Transportation, Service | c | c | c
Cross-Contamination of Raw / Cooked Foods / Other | c | c | c
Demonstration of Knowledge / Person in Charge | c | c | c
Hot and Cold Water Under Pressure / Sufficient Capacity | c | c | c
Facility and Equipment Requirements
Equipment Adequate to Maintain Product Temperature / Accurate Thermometers Provided | c | c | c
Hand Washing Facilities Adequate / Accessible with Soap & Towels | c | c | c
Evidence of Rodent / Insects Contamination / Other Animals / Outer Openings Protected | c | c | c
Toxic Items Properly Used / Stored / Labeled | c | c | c
Manual / Mechanical Warewashing and Sanitizing at ( ) ppm/temp. | c | c | c
Approved Water Supply / Sewage Disposal Systems / Cross Connections | c | c | c
Food Contact Surfaces of Equipment and Utensils Cleaned / Sanitized / Good Repair | c | c | c
Date Marking: Customer Advisory (Heimlich / Raw Shellfish Warning / Buffet Plate | c | c | c
Other
Original container, no misbranding, honestly presented, properly labeled | c | c | c
Thermometers provided and conspicuous | c | c | c
Food storage, thawing, proper signage, other food protection conditions | c | c | c
In-use food or ice dispensing utensils properly stored & Used | c | c | c
Food or ice contact surfaces properly designed, constructed, maintained, installed, located, ANSI approved | c | c | c
Non-food contact surfaces properly designed, constructed, maintained, installed, located, ANSI approved | c | c | c
Accurate thermometers, chemical test kits provided, flow pressure gauges, data plates, alarms operating | c | c | c
Equipment and utensils pre-flushed, scraped, soaked | c | c | c
Wash; rinse water clean, proper temperature | c | c | c
Dishwashing facilities properly designed, constructed, maintained, installed, located, operated | c | c | c
Wiping cloths clean, use restricted, rinsed / stored in proper sanitizer | c | c | c
Non-food contact surfaces of equipment and utensils clean | c | c | c
Proper storage and handling of clean sanitized equipment & utensils | c | c | c
Single-service articles properly stored and dispensed | c | c | c
No re-use of single service articles, except non-potentially hazardous packaged item | c | c | c
Plumbing properly installed and maintained, inspected where required | c | c | c
Toilet rooms enclosed, self-closing doors; fixtures, good repair, clean; proper waste receptacles | c | c | c
Containers / receptacles / compactors, covered, adequate number, insect / rodent proof, clean | c | c | c
Outside storage area / enclosures properly constructed, clean, located on proper surface, drained | c | c | c
Floors, walls, ceilings in good repair, clean, constructed properly | c | c | c
Lighting provided as required, fixtures shielded properly | c | c | c
Rooms and equipment vented as required | c | c | c
Dressing rooms / lockers adequate, clean, used | c | c | c
Premises maintained free of litter, unnecessary articles removed, storage in an orderly manner | c | c | c
Cleaning / maintenance equipment properly stored | c | c | c
Authorized persons only / hair restraints / jewelry-fingernails / food handler permits | c | c | c
Complete separation from living / sleeping quarters, laundry facilities | c | c | c
Clean / soiled laundered items properly stored | c | c | c
Proper number of sinks: mop sinks, dishwashing sinks, food preparation sink, used for intended purposes | c | c | c
Lodging Establishments - Inspection Report Items
Oklahoma Administrative Code 310:285 - Guidelines
Facility Maintained - Safety, Health, Comfort of Guests | c | c | c
Plumbing - Installed/maintained per OK Plum. Lic. Act. BOC or app.law | c | c | c
Electrical - Installed/maintained per OK Electr. Lic. Act. BOCA or app. Law | c | c | c
Lighting Adequate; Suitable for Reading | c | c | c
Fire Safety - Certified Fire Extinguishers | c | c | c
Fire Safety - Smoke Detectors; Maintained | c | c | c
Fire Safety - Fire Escapes: Good Repair, Lighted, Directions | c | c | c
Room Ventilation - Forced Air, Windows, Screened | c | c | c
Toilet - Ventilation, Good Repair, Min # per floor, No Carpet, Clean | c | c | c
Vermin - none present | c | c | c
Animals/Fowl - Restrictions Applied | c | c | c
Food Service - Limited Food Products | c | c | c
Food Service - Equipment | c | c | c
Food Service - Food Protected, Discarded | c | c | c
Ice - Automatically Dispensed; Operator Dispensed | c | c | c
Ice - Customer Self-Service (prior to 4/18/1985) | c | c | c
Laundry - Clean and Dirty Separate, Clean Area; Hand Sink | c | c | c
Housekeeper Cart - Clean and Dirty Separated; Multi-use Protected | c | c | c
Rooms - Furnishings; Clean, Good Repair | c | c | c
Rooms - Linens; 2 sheets, 1 mattress cover, pillow cover or double cased | c | c | c
Rooms - Service; Individual soap//towels, linens, towel, soap changed per occupancy | c | c | c
Multi-use Utensils; Removed After Each Occupancy; Sanitized | c | c | c
Single Use Utensils; stored, handled, used only once | c | c | c
Multi-use Utensils; Dishwashing Facilities Approved; Separate Area; Hand Washing | c | c | c
Employees - No Communicable Disease/Infection | c | c | c
Swimming Pool - Maintained Per OAC 310:315 & 310:320 | c | c | c
Sewage - Disposed Per Oklahoma Department of Environmental Quality (ODEQ) Regulations | c | c | c
Water - Supplied Per ODEQ Regulations | c | c | c
License - Valid, Posted | c | c | c
Public Bathing Inspection Report Items
Oklahoma Administrative Code 315 & 320 - Guidelines
Pool / Spa
Enclosure: Height, no gaps, over 4", good repair: SC/SL gates | c | c | c
Lifeguard(s), CPR, 1st Aid Personnel; Certifications; "No Guard" | c | c | c
Signs: Bathing load/diving/rules/chemicals/spa | c | c | c
First Aid Kit Available; Emergency telephone numbers posted | c | c | c
Ring buoys, Shepherd's crook, backboard; lifeline: telephone | c | c | c
Decks, gutter, pool finish: clean, good repair | c | c | c
Depth markers; Stairs stripes (pools); Main drain contrasting color Recirculation inlets: Adjusted properly, open | c | c | c
Outlets: Anti-vortex plate or min. 144in2 grate | c | c | c
Skimmers: Weirs and baskets installed; clean and operating | c | c | c
Ladders, handrails, coping, etc. in good repair | c | c | c
Diving Board: Height, projection over water, good repair | c | c | c
Circul/Disin
Piping and valves labeled, operating instruction available | c | c | c
Main drain and skimmer(s) valved separately | c | c | c
Pump and filter: Approved, good repair, operating | c | c | c
Pump strainer: 2 baskets in good condition, not clogged | c | c | c
Gauges operable: Filter inlet and outlet, strainer; slight glass | c | c | c
Flow rate & pool volume posted; operating instructions available | c | c | c
Flow meter, flow rate OK: Reg: gpm Obs.: gmp | c | c | c
Disinfectant/pH controls; approved, operating: Gas CI OK | c | c | c
Spa therapy piping independent of filter system | c | c | c
Thermometers: 3 required at heated facilities (1 handheld) | c | c | c
No cross conn., pool makeup, hose bib: Backwash discharge OK | c | c | c
Chemicals: original containers, labeled, stored safely | c | c | c
Bath
Floors, Walls, Ceiling, Furniture, clean, good repair | c | c | c
Showers: Warm water, temperature control, good repair, soap | c | c | c
Toilets: Clean, good repair, supplies | c | c | c
Water Quality
Records kept: Required testing done; Inspection posted | c | c | c
Turbidity: Water clear, main drain visible | c | c | c
Free available chlorine between 1.0 & 5.0 PPM / Spa 1.0 & 10 PPM | c | c | c
Combined chlorine equal to or less than 0.2 PPM | c | c | c
pH between 7.2 and 7.8 | c | c | c
Total Alkalinity between 80 and 200m PPM | c | c | c
Calcium hardness between 50 and 500 PPM | c | c | c
Water balanced within 0.5 pH units | c | c | c
Other: Cyanuric acid 10-100 PPM; TDS, metals controlled at spa | c | c | c
Temperature of spa not over 105 degrees | c | c | c
Other
Electrical: GFI's, bulbs protected, no exposed wiring | c | c | c
Lighting, ventilation, pool & air temperature comply | c | c | c
Any condition, act or omission endangering health and/or safety | c | c | c
Salon Inspection Report Items
Oklahoma State Board of Cosmetology and Barbering Regulations, OSHA, and other appropriate state standard - Guidelines
Restrooms
Toilets and washbasins adequate, convenient, accessible, designed, installed | c | c | c
Toilet tissue, soap in dispensers and single service paper towels or electric hand dryer | c | c | c
Covered refuse containers provided, clean | c | c | c
Proper fixtures in good repair, clean | c | c | c
Restrooms not used as storage rooms | c | c | c
Equipment and Facilities
Floors/walls/ceilings properly constructed, good repair, clean | c | c | c
Adequate lighting provided as required | c | c | c
Adequate ventilation, no excess heat or odors | c | c | c
Adequate handwashing stations with soap and paper towels | c | c | c
No food in refrigerators used to store salon products | c | c | c
Foods or beverages prepared, stored, or sold on premises | c | c | c
Free from insects, rodents, or any type of animal except for trained service animal | c | c | c
Personnel
No person with infection or communicable disease attended or working | c | c | c
Clean outer garments, good hygienic practices, no eating/smoking | c | c | c
Hands washed with soap and water before serving each customer | c | c | c
Storage
Cabinet for clean linens and towels are adequate, clean | c | c | c
Covered receptacle provided exclusively for soiled linens and towels | c | c | c
Water/Sewer/Plumbing
Water supply adequate, safe | c | c | c
Hot/Cold water under pressure, provided as required | c | c | c
Approved method of sewage disposal | c | c | c
Approved plumbing fixtures, clean, maintained | c | c | c
No potential connection or back siphonage; backflow | c | c | c
Garbage Disposal
Adequate number of covered refuse containers provided, clean | c | c | c
Outside disposal area and enclosure properly constructed, clean | c | c | c
Utensils/Equipment-Handling
Headrest covered with clean towels or paper | c | c | c
All liquids, creams and other products are kept in clean, closed containers. All products used on client are dispensed by a spatula, spoon, squeeze bottle, pump, dropper, or similar dispenser so the remaining product is not contaminated. | c | c | c
Attached equipment, fixtures, properly constructed, maintained, cleaned, and disinfected | c | c | c
All chemical containers are properly labeled | c | c | c
Universal precautions used | c | c | c
Utensils/Equipment-Sanitizing
Utility sink provided for instrument cleaning | c | c | c
Equipment used on customer cleaned and disinfected after each customer | c | c | c
Utensils used on customers cleaned and sanitized after each customer | c | c | c
Proper use of recommended disinfection techniques/solutions; methyl methacrylate (MMA) prohibited | c | c | c
Disinfected utensils kept in sanitary covered containers when not in use | c | c | c
Linen and towels properly sanitized when washed on premises | c | c | c
EPS - Registered disinfectant used - Name: | c | c | c
Autoclaves are cleaned and serviced at the frequency recommended by the manufacture | c | c | c
Paraffin wax machine is clean | c | c | c
Single-use items such as: emery boards, disposable files, etc. are discarded after each client | c | c | c
Ventilation
Adequate ventilation, no excess heat or odors | c | c | c
Maintenance and Operation
Material Safety Data Sheets (MSDS) available for supplies and chemicals | c | c | c
Standard operating procedures (SOP's) in place | c | c | c
Other | c | c | c
License Requirements
Documentation
Agreements and/or MOU with local:
EMS | c | c | c
Fire Department | c | c | c
Police | c | c | c
Annual Environmental Survey - Office of Environmental Health | c | c | c
Building Specifications on Modular Units | c | c | c
Cherokee Nation Marshal Service Cross-Deputization | c | c | c
Cherokee Nation Tax Commission Licenses
Alcohol | c | c | c
Retail | c | c | c
Tobacco | c | c | c
Communicable Diseases Control Plan | c | c | c
Construction “Certificate” (Substantial Completion) | c | c | c
Construction Code for Electrical, Building, Plumbing, and Mech. | c | c | c
CNE Policies and Procedures | c | c | c
CNGC MICS / Rules & Regulations / Polices & Procedures | c | c | c
CPR / First Aid / AED training complete for Security | c | c | c
Emergency Response / Evacuation Drills / Training | c | c | c
Employee List | c | c | c
Environmental Health Food Inspection Report | c | c | c
Environmental Survey | c | c | c
Fire Alarm Systems Testing | c | c | c
Fire Extinguisher Service - Date | c | c | c
Fire Hydrant Test Flow | c | c | c
Food Handling Training | c | c | c
Floor Plan | c | c | c
Generator Testing | c | c | c
Inspection Plan | c | c | c
Insurance | c | c | c
Organizational Chart | c | c | c
Number of Security Guards on all shifts | c | c | c
Surveillance Plan | c | c | c
Preventive Maintenance Plan | c | c | c
Risk Management Inspection Checklist | c | c | c
Risk Management Occupancy Certification | c | c | c
Sprinkler Testing | c | c | c
Trust Land Verification | c | c | c
Postings
ABLE Commission Facility License | c | c | c
ABLE Commission Individual License | c | c | c
Age Limit | c | c | c
Cherokee Nation Tax Commission Licenses | c | c | c
CNGC Facility License | c | c | c
Elevator Inspection Certification (in elevator or filed in GM office) | c | c | c
Emergency Evacuation Maps | c | c | c
Equal Opportunity Employment | c | c | c
Occupancy Signs at entrances | c | c | c
Problem Gambling Information | c | c | c
Rules for Play of and Prizes for Covered Games | c | c | c
Title 31 Information | c | c | c
Tort / Claims information | c | c | c
Compliance
Cage
IRS Forms | c | c | c
Multiple Transaction Forms (MTL) | c | c | c
No Personal Items | c | c | c
Title 31 Forms | c | c | c
Cards
Card Control Logs | c | c | c
Card Storage / Destruction | c | c | c
Card / Table Games Forms (Fills / Credits) | c | c | c
Information Systems
Adequate Power | c | c | c
Adequate Server and Network Racks Installed | c | c | c
All Networking and Phone Cabling Installed According to IEEE Standards | c | c | c
All Wall Mounted Network and Phone Equipment Installed According to IEEE Standards | c | c | c
Proper Access Control to IDF Closets in Place | c | c | c
Proper Access Control to Server Room in Place | c | c | c
Proper Cooling | c | c | c
Machines
EGMs Secured to Base | c | c | c
End User Testing Results | c | c | c
Keys | c | c | c
Meal Tickets | c | c | c
UPS / Surge Protector Units (EGMS) | c | c | c
UPS / Surge Protector / Emergency Power Back-Up (Servers) | c | c | c
MICS
Accounting Day | c | c | c
Drop / Count Team Schedules | c | c | c
Minimum Bankroll Formula | c | c | c
Tip Agreement | c | c | c
Tip Containers | c | c | c
Tip Reporting | c | c | c
Variance (Overages / Shortages) Tracking | c | c | c
Other
ATM Maintenance | c | c | c
Kiosks | c | c | c
GMARs (Gaming Machine Access Report) | c | c | c
Player’s Club
Comps | c | c | c
Hopper Inspection | c | c | c
Lost Players Club Card Box | c | c | c
Marketing Collateral (Promotions) | c | c | c
No Personal Items | c | c | c
Soft Count
Clear Containers for Supplies | c | c | c
Clear Tables | c | c | c
Count Forms | c | c | c
Currency Counters Tested | c | c | c
EGM Canisters (# marked) | c | c | c
Drop and Count Equipment (uniforms, carts) | c | c | c
No Items Hindering Surveillance View | c | c | c
No Personal Items | c | c | c
No Storage Boxes | c | c | c
Trash Receptacles – See thru | c | c | c
Security
Security Staffing Schedule | c | c | c
Firearm Certification | c | c | c
Key Inventory (Traka?) | c | c | c
Surveillance Audio/Camera in Holding Room | c | c | c
Key Logs | c | c | c
Magnetic Locks | c | c | c
Surveillance
A/C (Dedicated?) | c | c | c
Audio in Count Room | c | c | c
Camera Views / Placement (Cage, Vault, Count Room, Games, Tables, POS) | c | c | c
Emergency Power Back-up (Dedicated?) | c | c | c
Logs (Event / Maintenance / Access) | c | c | c
Recorders (Date / Time Generators) | c | c | c
Retention Schedule | c | c | c
Staffing Schedule | c | c | c
Training on Games | c | c | c
Training
Blood Borne Pathogens | c | c | c
Check Cashing / Policy | c | c | c
Counterfeit Currency / Policy | c | c | c
Exclusion / Policy | c | c | c
External Defibrillators (AEDs) | c | c | c
Food Handling | c | c | c
Fire Extinguishers | c | c | c
Hazardous Chemicals | c | c | c
Prize Claims | c | c | c
Problem Gambling | c | c | c
Tort Claims | c | c | c
Vault
Cash Inventory | c | c | c
Chip Inventory | c | c | c
Clear Containers for Supplies | c | c | c
Clear Top Shelf | c | c | c
Currency Counter Tested | c | c | c
No Items Hindering Surveillance View | c | c | c
No Personal Items | c | c | c
No Storage Boxes | c | c | c
Hard lid on vault ceiling | c | c | c
Trash Receptacles – See thru | c | c | c
Other Areas To Be Audited/Inspected
Basements / Attics / Storage | c | c | c
Business Centers | c | c | c
Convention Centers | c | c | c
Electrical / Mechanical / Boiler / HAVC Rooms | c | c | c
Events / Entertainment Centers | c | c | c
EVS / Housekeeping Rooms | c | c | c
Facility/Maintenance Building | c | c | c
Fitness Centers | c | c | c
Food and Beverage (bars, restaurants, cafes, drink stations, etc.) | c | c | c
Hotel Rooms | c | c | c
Meeting Rooms | c | c | c
Office Space (HR, Admin, etc.) | c | c | c
Pool Areas | c | c | c
Restaurants | c | c | c
Retail Areas | c | c | c
Secured Areas
Cage | c | c | c
Electrical Rooms | c | c | c
Gaming Areas | c | c | c
High Limit Payout | c | c | c
IT Rooms | c | c | c
Man-trap | c | c | c
Security Offices | c | c | c
Server Rooms | c | c | c
Soft Count Rooms | c | c | c
Surveillance Rooms | c | c | c
Tech Rooms | c | c | c
Vault | c | c | c
Spa | c | c | c
Stages | c | c | c
Theater | c | c | c
Valet | c | c | c
Wardrobe | c | c | c
Warehouse | c | c | c

## Sheet1 (2)
Item | Yes | No | N/A | Comments
1. The NIGC request that tribes notify the NIGC of their intent to reopen a gaming operation. | c | c | c
2. Review Tribal Gaming Ordinance for any regulatory staffing and quorum requirements. | c | c | c
3. Ensure all key regulatory and licensed gaming positions are filled to ensure compliance with applicable regulations and control over the gaming operation. Critical regulatory positions may include: Surveillance Operators, Inspectors/Compliance Officers, Auditors, and Investigators. | c | c | c
4. Review and assess compliance with MICS, TICS, and SICS prior to opening. See 25 C.F.R. §543. | c | c | c
5. Verify that outsourced accounting and/or internal audit contractors are operational and ready for resumption of services. See 25 C.F.R. § 571.12; 25 C.F.R. § 543. | c | c | c
6. Review submissions due to the NIGC during the closed period and submit any outstanding submissions accordingly (licensing, audits, fees, etc.) including facility license and EPHS certifications. See 25 C.F.R. § 556; 25 C.F.R. § 558; 25. C.F.R. § 559; 25 C.F.R. 571.12; 25 C.F.R. 543. | c | c | c
7. Assess current licensing schedules, including renewals, and other decisions. Issues to be aware of under 25 C.F.R. §§ 556 and 558 include the 60-day NOR submission deadlines, 30-day notification of License Issuance, and the requirements under 25 C.F.R. § 558.3(c), which prohibits a key employee or primary management official from working greater than 90 days without a gaming license. | c | c | c
Public Health and Safety Recommendations (25 U.S.C. § 2710(B)(2)(e); 25 C.F.R. § 522.2(i); 25 C.F.R § 522.4(b)(7); 25 C.F.R. § 559.4)
1. TGRAs and Operations should coordinate and implement measures to ensure public health and safety that may include patron and employee screening, personal protective equipment, physical and social distancing, sanitizing and cleaning plans and any necessary adjustments to internal controls (TICS/SICS). | c | c | c
2. COVID-19 Training: All employees should receive training on COVID-19 safety and sanitation protocols. More comprehensive training may be necessary for Housekeeping, Cleaners, Food & Beverage and Security. Front and back of house signage could be posted reminding employees and patrons of protocols and hygiene reminders. | c | c | c
3. Cleaning Protocols: Cleaning agents should be reviewed to ensure they meet EPA guidelines, are approved for use and are effective against COVID-19 and other viruses. The frequency of cleaning and sanitizing should be increased in all employee and public areas with an emphasis on high traffic areas and frequent contact surfaces. | c | c | c
4. Employee Hand Washing: Correct hygiene and frequent hand-washing with soap is vital to help combat the spread of the virus. All employees should be instructed to wash their hands frequently, or use hand sanitizer when a sink is not available and after any of the following activities: using the restroom, sneezing, touching the face, blowing the nose, cleaning, sweeping, mopping, smoking, eating, drinking, entering and leaving the gaming floor, going on break and before or after starting a shift. | c | c | c
5. Hand Sanitizers: Hand sanitizer dispensers should be placed in various locations including patron and employee entrances, reception areas, lobbies, and casino floors. | c | c | c
6. Personal Protective Equipment (PPE): Determination should be made if PPE should be worn by employees based on their roles and responsibilities. If PPE is used by employees, training should be provided on how to properly use and dispose of all PPE. Determination should also be made with regards to patron use of PPE including face masks. The TGRA should review applicable ordinances, regulations, and/or policies and procedures regarding the use of face masks and consider making appropriate adjustments to TICS/SICS. | c | c | c
7. Physical Distancing: Guests and employees should be advised to practice physical distancing by standing at least six feet apart, while standing in lines, using elevators or moving around the property. Restaurant tables, slot machines, gaming devices, table/card games, and other physical layouts should be arranged to ensure appropriate distancing. | c | c | c
Considerations for Gaming Floor (25. C.F.R. §§ 543; 547)
1. Test internal and external network connectivity to ensure they are functioning properly, (e.g. firewalls for both networks are up and operational). | c | c | c
2. Test internet connectivity. | c | c | c
3. TGRAs and/or Operations should coordinate with vendors to ensure that systems and support are ready to resume operations. | c | c | c
4. Ensure gaming systems, including game servers, have been tested for connectivity and functionality, including wide area ball calls and wide area progressives. | c | c | c
5. Test the player tracking system parameters to ensure integrity and proper operation of the system. | c | c | c
6. Review player tracking reports to identify any anomalies such as changes to player accounts and/or point adjustments while the casino was closed. Any discrepancies should be investigated to resolution. | c | c | c
7. Test emergency systems including, but not limited to, smoke/fire alarms and backup generator(s). | c | c | c
8. Test information technology systems and backup data. | c | c | c
9. Review ticket redemption, player point accruals, or coupon expirations, etc. to determine if expiration dates will be extended. | c | c | c
10. Ensure any temporary VPN user accounts that were created during the emergency closure have been deactivated upon resumption of the gaming operations. | c | c | c
11. Ensure that all wide area and in-house progressive jackpot meters are correct and are properly posted for all gaming departments (gaming machines, poker, table games, etc.). | c | c | c
Consideration for Surveillance and Security (25 C.F.R. § 543)
1. Test to ensure surveillance systems are functioning properly, including any back up power sources; synchronize with casino management system, as necessary. | c | c | c
2. Ensure all required camera views and recordings are available in accordance with 25 C.F.R part 543.21. | c | c | c
3. Ensure all previously deactivated electronic employee access privileges have been reactivated. | c | c | c
4. Test all electronic/electromagnetic locks to secure areas to ensure they are functioning properly. | c | c | c
5. If available, the TGRA should review the facility entry logs for non-authorized entry or suspicious activity during the time period the operation was closed. | c | c | c
Considerations for Cage/Vault and Revenue Audit (25 C.F.R § 543)
1. Ensure TGRA approved minimum bankroll amount is on site in accordance with 25 C.F.R § 543.18(c)(4) (https://www.nigc.gov/images/uploads/checklists-andworksheets/MinimumBankrollVerification02192018.xlsx) | c | c | c
2. Reconcile and fill ATMs, kiosks, and cash recyclers if previously emptied. | c | c | c
3. If ATMs, kiosks, and cash recyclers were not dropped prior to closing, funds should be reconciled and verified. | c | c | c
4. Count and verify vault and cage inventories. | c | c | c
5. Emergency and/or final drop proceeds should be reconciled and verified. | c | c | c
6. Audits of assets left in place should be conducted for the period the operation was closed e.g. pull tabs, controlled (sensitive) keys, cheques, cards, dice, bingo paper, gaming devices, pre-numbered forms, monetary instruments and other secure inventory items as appropriate. | c | c | c
7. Consideration should be given to the regular monthly and quarterly inventories required under 25 C.F.R. part 543.24. | c | c | c
8. Audits of non-gaming inventories such as food and beverage, alcohol storage, gift shops, etc. should be conducted. | c | c | c
9. After restoration of the accounting system has been conducted, a review of data should be conducted to identify any potential fraudulent or unauthorized activity. | c | c | c
10. All variances should be fully investigated to resolution. | c | c | c
25 CFR §559.1 What is the scope and purpose of this part? (a) The purpose of this part is to ensure that each place, facility, or location where class II or III gaming will occur is located on Indian lands eligible for gaming and obtains an attestation certifying that the construction and maintenance of the gaming facility, and the operation of that gaming, is conducted in a manner that adequately protects the environment and the public health and safety, pursuant to the Indian Gaming Regulatory Act. (b) Each gaming place, facility, or location conducting class II or III gaming pursuant to the Indian Gaming Regulatory Act or on which a tribe intends to conduct class II or III gaming pursuant to the Indian Gaming Regulatory Act is subject to the requirements of this part. | c | c | c
25 CFR §559.4 What must a tribe submit to the Chair with the copy of each facility license that has been issued or renewed? A tribe shall submit to the Chair with each facility license an attestation certifying that by issuing the facility license, the tribe has determined that the construction and maintenance of the gaming facility, and the operation of that gaming, is conducted in a manner which adequately protects the environment and the public health and safety. This means that a tribe has identified and enforces laws, resolutions, codes, policies, standards or procedures applicable to each gaming place, facility, or location that protect the environment and the public health and safety, including standards, under a tribal-state compact or Secretarial procedures. | c | c | c
25 CFR §559.6 May the Chair require a tribe to submit applicable and available Indian lands or environmental and public health and safety documentation regarding any gaming place, facility, or location where gaming will occur? A tribe shall provide applicable and available Indian lands or environmental and public health and safety documentation requested by the Chair. | c | c | c
Applicable Approved Tribal Gaming Ordinance Section(s) :1 | c | c | c
Applicable Tribal-State Gaming Compact Section(s):2 | c | c | c
The NIGC interpretive rule regarding IGRA’s environment, public health, and safety mandate (Federal Register at 67 Fed. Reg. 46109 (July 12, 2002)): | c | c | c
Reopening Questions Related to EPH&S
1. Does the TGRA attest that there is no longer a threat to public health and safety? Identify approving official. | c | c | c
2. Have all applicable tribal and/or federal restrictions on businesses and/or individual gatherings related to the COVID-19 Pandemic been lifted or amended that allow for reopening? Please list any existing or amended restrictions. | c | c | c
3. Are there local, county, or State restrictions on businesses and/or individual gatherings related to the COVID-19 pandemic that have been determined to apply to the gaming operation and that are still in effect? | c | c | c
4. If yes to #3, has the Tribe or TGRA reviewed those restrictions and made a determination as to how the Tribe may safely reopen? | c | c | c
5. Are there other existing local, county, or State restrictions on businesses and/or individual gatherings related to the COVID-19 pandemic (e.g. alcohol / food service, hotel, spa)? If so, please list. | c | c | c
6. Has the TGRA identified and does it have in its possession all EPHS standards applicable to the gaming facility? | c | c | c
7. Has the TGRA reviewed all the EPHS standards applicable to the gaming facility and can it attest that the facility meets or will meet the standards at the time of reopening? | c | c | c
8. Has the TGRA conducted or will it cause an inspection of the gaming facility to ensure the gaming facility meets the EPHS standards? List date, organization, contact information of inspector(s). | c | c | c
9. Do the standards identified in #8 include requirements that the gaming facility perform a deep cleaning to a prescribed standard? | c | c | c
10. Has the TGRA identified public health and/or EPHS experts to assist with inspections and identification of violations of the Tribe’s EPHS standards and instances of imminent jeopardy that may be caused due to the COVID-19 Pandemic? | c | c | c
11. TGRA (or Tribe) adopted additional requirements/protocol to include inspection standards/schedules, use of notices, and enforcement actions, including temporary closure orders, to address the COVID-19 Pandemic? | c | c | c
12. Have changes to internal controls been approved by the TGRA and/or Casino to allow for personal protective equipment (PPE) to be worn by gaming facility staff and patrons such as masks and gloves? If yes, have existing/additional standards been identified/implemented to ensure that the new policies/procedures will protect against theft. For example, if allowing count room employees to use gloves, masks, or hoods, are there other TICS/SICS in place to ensure against theft? | c | c | c
13. Has the TGRA developed or adopted current monitoring, testing and reporting mechanisms to address COVID-19 Pandemic rules approved by the TGRA? Describe. | c | c | c
14. Does the TGRA and Casino have the appropriate staff to ensure internal control and compliance with applicable regulations? | c | c | c
15. Has the TGRA implemented any social/physical distancing measures within the gaming facility that are consistent with CDC guidelines? | c | c | c
16. Has the gaming facility adopted protocol to address instances where staff or patrons report or display symptoms of COVID-19? Has the gaming facility adopted protocol to address instances where staff or patrons test positive for COVID-19? Is there a source of protocol or was the protocol developed internally? | c | c | c
17. Has the Tribe or TGRA determined what indicator(s) will signal consideration for reclosing the gaming facility? | c | c | c
18. Has the TGRA/Casino tested emergency service systems (fire alarms, sprinklers, etc.)? | c | c | c
19. Has the TGRA confirmed the gaming facility will have adequate emergency services response (fire, EMS, police) from the agencies previously designated as first responders prior to COVID-19 Pandemic? Has TGRA ensured agencies can and will respond to calls at the gaming facility. | c | c | c
20. Will areas of the gaming facility remain closed? If so, please list. | c | c | c
21. Will the TGRA and Casino continue to monitor and prepare for the possibility of a subsequent wave of COVID-19 outbreaks? Describe preparedness plan. | c | c | c
22. Is the TGRA or Operation requesting any preopening technical assistance? | c | c | c
COVID-19 Processes/Activity
Prior to Opening
Inspections conducted by qualified personnel (e.g. risk management, safety, health officials, certified TGRA staff) | c | c | c
Documentation for inspections are verified | c | c | c
Protocols / SOP to meet CDC, Tribal, State, and local COVID-19 requirements are in place | c | c | c
Training of employees on new requiremetns is conducted and documented. This would include any PPE usage such as masks, gloves, temperature gauges, and proper disposal. New sanitizing protocols for back of house, gaming floor, hotel, spa, convention/ entertainment areas, and casino instruments, shared equipment, etc. In addition, if new procedures are in place for entry into the casino, employees will need to be trainined on these new procedures (temperature gauges, questionaires, possible waiver signatures, etc.) | c | c | c
Does the particular facility meet the requirements/guidelines of the Tribe | c | c | c
Does the particular facility meet the requirements/guidelines of the State | c | c | c
Does the particular facility meet the requirements/guidelines of the local Public Health Office | c | c | c
Cleaning Protocols (https://www.cdc.gov/coronavirus/2019-ncov/community/disinfecting-building-facility.html) Enhanced cleaning procedures will include disinfecting restrooms every hour, sanitizing gaming machines multiple times per shift, and sanitizing door handles, doors, courtesy phones, tables, chairs, handrails, and other high–touch and high–traffic areas multiple times a day. | c | c | c
Cleaning Protocols after someone is suspected/confirmed with COVID-19 in the facility. (https://www.cdc.gov/coronavirus/2019-ncov/community/organizations/cleaning-disinfection.html) | c | c | c
Signage - PSA's (e.g. COVID-19 symptoms; testing requirements; social distancing requirements, etc.) | c | c | c
Limited hours of operation | c | c | c
Limited entry points (all exits must remain operable) | c | c | c
Service animals allowed (COVID-19 and Animals - Can I get COVID-19 from my pets or other animals? At this time, there is no evidence that animals play a significant role in spreading the virus that causes COVID-19. Based on the limited information available to date, the risk of animals spreading COVID-19 to people is considered to be low. A small number of pets have been reported to be infected with the virus that causes COVID-19, mostly after contact with people with COVID-19.) | c | c | c
Cleaning Protocol for gaming machines after a guest leaves and prior to new guest using the machine | c | c | c
Cleaning Protocol for gaming instruments (e.g. gaming chips, cards, dice) | c | c | c
Additional sanitizing stations for patrons and employees | c | c | c
Physical distancing on the casino floor - Gaming Machines (is everyother machine turned off; still meeting ADA requirements) | c | c | c
Physical distancing on the casino floor - Card / Table games (e.g. three guests per card table) | c | c | c
Physical distancing on the casino floor - Promotions (no close groupings) | c | c | c
Physical distancing on the casino floor - Cage (clear marking to indicate correct distance in guest line formation) | c | c | c
Physical distancing on the casino floor - Players Club (clear marking to indicate correct distance in guest line formation) | c | c | c
Physical distancing on the casino floor - Self-service drink stations, ATMs, Kiosks (clear marking to indicate correct distance in guest line formation) | c | c | c
Physical distancing in F&B venues (clear marking to indicate correct distance in guest line formation; limited seating; spaced seating); List by venue | c | c | c
Use of single-use menus and utensils or cleaning protocols for reusable items | c | c | c
Use of single serve condiments or cleaning protocols for standard containers (e.g. shakers; bottles) | c | c | c
Buffet open? Cafeteria-syle service? Other Precautions? | c | c | c
Temperature taken of guests and employees prior to entry (100 degrees or higher per CDC indicates possible symptom for COVID-19) | c | c | c
All guests and employees will be required to wear masks? Casino may make some available onsite, but patrons should bring their own if they want to ensure entrance | c | c | c
Employee Dining Room - What precautions? | c | c | c
Fitness Center - Open? What precautions? | c | c | c
Spa - Open? What Precautions? | c | c | c
Pool - Open? What Precautions? | c | c | c
Hotel - Open? What Precautions? | c | c | c
Entertainment Center - Open? What Precautions? | c | c | c
Convention Space - Open? What Precautions? | c | c | c
Business Center - Open? What Precautions? | c | c | c
Retail Operations - Open? What Precautions? | c | c | c
Valet / Transportation (e.g. shuttles, limos, carts) in use? What Precautions? | c | c | c
Elevators / Escalators - what precautions? | c | c | c