## Sheet1
Item | Yes | No | N/A | Comments
Construction / Safety - Opening
AED installed | c | c | c
Alarm training provided for Security and Safety | c | c | c
Alarms tested, manuals provided (reports on file) | c | c | c
Alarm system PA Override tested (if applicable) | c | c | c
All hazards removed from guest self-serve drink stations (sharp points, edges, etc.) | c | c | c
All outdoor overhead hazards removed. Includes debris that may become airborn | c | c | c
All sink/wet areas have GFCI receptacles | c | c | c
All Smoke detector dust covers removed | c | c | c
All sprinkler head protective covers removed | c | c | c
All Strobe dust covers removed | c | c | c
Ansul systems certified and tagged (reports on file) | c | c | c
Any deadbolts installed during construction have been removed (e.g. exterior doors) | c | c | c
Electrical panels labeled | c | c | c
Elevator inspected and certified | c | c | c
Emergency assembly areas BOH signage in place | c | c | c
Emergency Exit lights in place | c | c | c
Emergency Exit Only signs in place as needed | c | c | c
Emergency lighting in place | c | c | c
Emergency response procedures booklets in place | c | c | c
Emergency response walk-thru with local police and fire departments – entrances, tour, etc. | c | c | c
Exterior walkways / walking surfaces free of hazards | c | c | c
Exterior lighting (walkways, parking) | c | c | c
Eye Wash Stations in place | c | c | c
FDC (Fire Department Connection) sign(s) in place | c | c | c
Fire Extinguishers in place and service-tagged: Also note types of Fire Extinguishers (ex. A, B, C, Electrical, Halotron) | c | c | c
Fire Lane marked | c | c | c
Fire Pulls at exits | c | c | c
Fire Suppression system tested and tagged (reports on file) | c | c | c
Fire Suppression (Server Rooms) tested and tagged (reports on file) | c | c | c
Fire suppression enclosure integrity test complete (reports on file) | c | c | c
Fire Suppression systems training for Security and Safety | c | c | c
First Aid cabinets installed | c | c | c
Floor plan drawing to fire department (if requested). This drawing should not identify sensitive areas of the property (count, vault). In the past what I’ve done is provide a drawing showing where all rooms are located – restrooms, BOH, offices, etc. What is critical is to identify all electrical rooms and panels, as well as combustible storage and any gas canisters (CO 2 ). | c | c | c
Grab rails installed in handicap restroom stalls | c | c | c
Guest emergency assembly areas identified and documented with Security | c | c | c
Fire Hydrants flow tested with Fire Department (report on file) | c | c | c
Interior Outlets/Plates are Identified | c | c | c
Interior walkways / walking surfaces free of hazards | c | c | c
Lighting on backup power tested | c | c | c
Parking Spaces - Number of Regular / Handicapped / Motorcycle | c | c | c
MSDS stations in place w/ signage | c | c | c
Pipes wrapped under restroom sinks | c | c | c
Potable Water System | c | c | c
Security and Facilities Maintenance trained to shutoff utilities | c | c | c
Sharps containers installed | c | c | c
Verify any PM requirements for Fire Tank level indication, controls and pump are in place w/ Facilities Maintenance | c | c | c
Construction / Safety - Closing
Determine critical personnel allowed access to closed facilities (e.g. regulatory, operations, vendors, maintenance, health care) | c | c | c
Notify all personnel who can or cannot access the facility after closure | c | c | c
For personnel not authorized access, ensure personnel know who to contact if access is needed | c | c | c
For authorized personnel accessing facility, ensure easily identifiable badges are created to delineate authorized and unauthorized access | c | c | c
Identify doors to be locked and doors for access | c | c | c
Ensure access points are clearly identified and communicated to approved personnel accessing facility | c | c | c
Ensure personnel authorized access after closure are informed of Emergency protocols such as points of contact, shutoff or access valves, evacuation protocols and rally points | c | c | c
Ensure remaining personnel have immediate access to Emergency Response protocols and numbers | c | c | c
Identify if parking for personnel who are authorized access has been designated and communicated | c | c | c
Identify all personnel who may have a license or badge which will expire during the period of closure | c | c | c
Establish protocols for licensing or badge expiration (either process for renewing or a waiver of compliance during closure) | c | c | c
Identify protocols to identify and communicate to onsite oversight the personnel and vendors authorized access during the closure | c | c | c
Risk Management Items
Electrical System - Opening
All outlets path to ground? | c | c | c
Breaker Boxes properly labeled | c | c | c
Extension Cords or attachment plugs not used for permanent wiring | c | c | c
Filler Space Covers | c | c | c
GFCI Protection | c | c | c
No open wiring | c | c | c
Three (3) feet of clear floor space provided to panels & elec. equip. | c | c | c
Walking areas free from extension cords | c | c | c
Electrical System - Closing
Communicate to authorized personnel remaining after closure critical electrical breakers and shutoffs | c | c | c
Slot Department - Closing | c | c | c
Ensure class II, participation and leased games remain on with power | c | c | c
Are class III slot machines being left on or turned off | c | c | c
If class III turned off, are the machine doors sealed (main door, belly door, cash box door) | c | c | c
If class III turned off, is consideration made of back up battery replacement and other relevant concerns addressed | c | c | c
If class III machines are left on collect variance reports, master game file for comparison against same reports again run prior to opening. | c | c | c
Ensure manual jackpot, cash expenditure and all other forms and all cash equivalents are inventoried and secured | c | c | c
Verify all department keys are accounted for and properly secure | c | c | c
Slot Department - Opening | c | c | c
Verify all department keys are accounted for and properly Secured | c | c | c
Audit key watch/tracker reports during closed period. Compare against floor activity /surveillance reports during the same period. Investigate as applicable. | c | c | c
If slot machines were left on during closure, pull master game file report, identify machines showing difference in coin in from master game file report pulled before closing. Audit games showing play activity. (this saves you from having to audit 100% of the floor) | c | c | c
For all games (left on or off), visually verify board seals have not been tampered with | c | c | c
After first day live, pay special attention to slot variance reports, validate the cause of the variances | c | c | c
Audit manual jackpot, cash expenditure and all other forms and all cash equivalents by comparing current inventory against closing inventories | c | c | c
Surveillance During Closing
The following audits assume the facility is closing but surveillance will maintain a presence and continue the duties of monitoring the facility. | c | c | c
Ensure a length of closing has been determined and if the closing date is finite. If the closing date is not finite and may change, the following audit items will have to be addressed when a new date is announced. | c | c | c
Verify if surveillance recording retention will include the entire facility or monitoring key areas only. | c | c | c
Define key areas requiring constant surveillance monitoring, recording and video retention | c | c | c
Based on the length of the closing, ensure surveillance video storage capacities will match the length of the closing | c | c | c
Will the video recordings retained be contained on physical, hard drives or the cloud or a combination of both? | c | c | c
Verify if the cloud providers is or needs to be licensed? | c | c | c
Verify the cloud provider meets and conforms to the ISO/IEC 27001 and 27002 standards of cloud security | c | c | c
Verify surveillance has been briefed on who may enter the facility (employees, vendors, security, regulatory) and how they will be identified (e.g. unique badging) | c | c | c
Verify surveillance is aware of access points for entering the facility. | c | c | c
Verify surveillance has a clear understanding of operations chain of command during the closure | c | c | c
Verify surveillance has closure key employee contact information and other critical contact information (e.g. operation personnel, regulatory, maintenance, first responders, security, ) | c | c | c
Verify surveillance has been given clear direction who may or may not enter the facility during the closure and procedures to react accordingly. | c | c | c
Ensure during closure camera coverage is maintained on all progressives (WAP, Linked, Stand Alone) games | c | c | c
Verify cage accountability was performed prior to closing. | c | c | c
Verify vault accountability was performed prior to closing | c | c | c
Note the process for both the cage and vault verification; was all cash, coin and cash equivalents counted and verified (e.g. were racks counted without verifying individual cheques; were the number of straps counted or actual bills in the straps counted ) | c | c | c
Verify if after cage and vault accountability occurred, did any staff member enter the money areas? | c | c | c
Verify each table closure. Record the count process as table games uses the credit process to return funds to the cage. | c | c | c
Surveillance - Opening | c | c | c
Directions will be provided from the regulatory body for guidance in each phase of the process. Each property is unique in how the property will open. | c | c | c
Cage and Vault Closing
100 percent accountability will occur for all cash, cheques and cash equivalents | c | c | c
If possible, closing will occur at the end of the gaming day to ensure gaming accountability coincides with end of the gaming day | c | c | c
If 100 percent accountability (meaning all funds are counted, not just straps and racks) does not occur during closing, 100 percent accountability will occur prior to opening. | c | c | c
All counts will be recorded by surveillance | c | c | c
Upon closing of the cage and vault, no employee will access the cage or vault without prior approval from the Gaming Commission and will be done so after notifying surveillance for the need of entering the cage or vault | c | c | c
All Kiosk will be Reconciled and balanced with revenue audit records and reports | c | c | c
Kiosk containing cash or cash equivalents will be turned into the cage following established procedures. If funds are not returned to the cage, the reconciliation will be verified by the Gaming Commission. Upon verification by the Gaming Commission, the machine will be sealed with a tamper proof security deal by the Gaming Commission | c | c | c
Kiosk Ticket Reconciliation Ticket Reconciliation should be completed independent of the Cage. The reconciliation of Tickets will be verified both through Kiosk software and Slot Accounting Reports. | c | c | c
POS Venue Reconciliation – All point of sale venues will close out and balance the point of sale terminals. All tills will be maintained in the cage after reconciliation has occurred. | c | c | c
POS Revenue recorded in the Cage will be reconciled to POS Reports during the audit of the POS venues where actual revenue will be compared to POS System generated reports. | c | c | c
Independent Verification of Cash-Equivalents: | c | c | c
Validating cash equivalents such as Slot Vouchers, Table Fills, Coupons, etc. should be independently verified by the cashier and a second witness | c | c | c
Validating the cash equivalents will be further validated by Accounting | c | c | c
At a minimum, the following reports will be provided to the Gaming Commission as part of the closing paperwork: Cashier Voucher Detail. Cashier Coupon Redemptions. Point/Comp Redemptions conducted at the Cage Cash Prize Reports Credit/Debit Advance Reports Check Cashing Reports Kiosk Short-Pay Reports | c | c | c
The Cage will reconcile table games stiff sheets which will be independently validated by accounting (revenue audit) | c | c | c
Soft/Hard Count Reconciliation: Cage employees will validate the Count being turned over to the Cage. All Count paperwork will be tied to the originating documentation generated in the Count Room and should match the addition to Cage Accountability that the Cage Reconciliation calls for. Once confirmed in the Cage, the cash needs to be tied out through the Slot Audit | c | c | c
The cash deposit is a large portion of the funding of the casino. Deposits are created and Cage Accountability is adjusted as the deposit is made. | c | c | c
Validate that all deposit paperwork ties to both the cash deposit and the change in Cage Accountability. Focus should be placed on the ensuring that all deposit paperwork is validated by multiple signatures from the Cage. Lapping schemes will be revealed at this critical point because of the property closure. Look for improper adjustments | c | c | c
Verify the deposit made ties to the Bank Account and the deposit made. Again, focus on adjustments and separation of duties (signatures) | c | c | c
Cage and Vault Opening | c | c | c
All funds must be 100 percent counted and verified before being issued to departments This should be performed by a person other than the employee who closed the cage and vault. If this cannot be done, ensure a witness independent of the cage or vault verifies the cash and cash equivalents. | c | c | c
Revenue Audit Closing | c | c | c
It is critical accurate numbers are obtained for each department prior to closing. Solid and reliable records upon closing will allow Gaming Commissions to account for funds when re-opening | c | c | c
Cage Accountability. Verify the Cage Accountability from the General Ledger has been tied accurately to the Actual Cash and Equivalents that make up Cage Accountability. Revenue Audit or another department independent of the Cage should verify Cage Accountability upon the day of closure | c | c | c
Cage Deposits. Verify Cage deposits were reconciled to the last day of business. Verify the balance in the General Ledger was reconciled to account for deposits in transit. | c | c | c
ATM Receivable. ATM Receivable is basically accounting for the ATM deposits in transit that have not hit the bank. Verify the ATM Deposits were tied to the General Ledger Balance. If there are funds in transit, upon re-opening verify the funds were deposited | c | c | c
Credit/Debit Receivable. Credit/Debit Receivable, much like ATM deposits, is accounting for the deposits in transit. The Credit/Debit Receivable Account should be reconciled to the General Ledger balance. Any funds not yet deposited by the bank should be identified at this time, the amount presented to the Gaming Commission and verified upon re-opening. | c | c | c
Electronic Check Receivable. If utilized by the casino through a check guarantee service or other means, deposits should be reconciled upon closing. Any funds in transit should be identified to Gaming Commission and should be verified upon re-opening. | c | c | c
Chip/Token Liability. Chip and Token Liability (The Chips/Tokens that guests have) will be reconciled at closing and the amount, by denomination will be provided to the Gaming Commission. This liability will be validated again upon re-opening to validate chips and cheques did not disappear during closure. | c | c | c
Slot Voucher Liability will be reconciled upon closing and compared to the slot accounting system. (This reconciliation requires planning and understanding to the Ticket Liability and Ticket trail). As there are often entries made to the general ledger to reflect changes in Cage Accountability, Slot Revenue, etc. where the offset account is the Slot Voucher Liability, it is imperative to reconcile this account and investigate any discrepancies. | c | c | c
Point/Comp $ Liability | c | c | c
With points and/or comp $ being utilized for Free Play, exchanged for cash, utilized at the POS, etc. there are many different transactions and ways to manipulate points. The offsetting account is the Point/Comp $ Liability. Points and Comp $ Liability should be tied out to the player club system reports upon closing. | c | c | c
Revenue Audit - Opening | c | c | c
Ensure all audits with variances are resolved prior to opening | c | c | c
Ensure all transaction in transit upon closing have been closed (see closing section above) | c | c | c
Verify opening paperwork and totals in all departments (listed above) tie back to the closing paperwork and totals | c | c | c
Bingo - Closing | c | c | c
Bingo cards (paper) are cash equivalents. Verify accountability of cards from receiving, to sales to cards on hand. Cards should be sequential. Investigate any missing cards. | c | c | c
Secure all Bingo equipment according to NIGC MICS standards. | c | c | c
Very all POS have been balanced with no unaccounted for discrepancies. | c | c | c
Bingo - Opening | c | c | c
Verify card accountability | c | c | c
Test all Bingo equipment according to MICS standards | c | c | c
Players Club - Closing | c | c | c
Print exception report from players club module after facility is closed | c | c | c
Determine what dollar amount is material for inventory | c | c | c
Count all inventory in the players club which meets the defined material amount | c | c | c
Players Club - Opening | c | c | c
Print exception report from players club. Compare against the same report generate upon closing. Identify any changes made to player accounts, points, PIN changes or other transaction occurring during closing. Investigate accordingly | c | c | c
Perform an inventory count on items determined to be material from the closing. Identify any discrepancies between closing and opening inventories. Investigate accordingly | c | c | c
Hazardous Chemicals - Closing
Containers must be labeled and stored to ensure corrosive chemicals are properly stored considering the duration of the closure and chemicals are not mixed to prevent hazardous fumes or can combust | c | c | c
Proper Disposal Procedures adhered to | c | c | c
Eye Wash stations in place | c | c | c
Procedures in place | c | c | c
Hazardous Chemicals - Opening
Ensure corrosive chemicals have not deteriorated containers and have become unsafe
Verify chemicals have not mixed during storage creating unsafe inhalation, burn or explosive situations
Sanitation
Bio-Hazard disposal program in place? | c | c | c
Employees trained in Blood Borne Pathogens? | c | c | c | This section is not needed for a RE-OPENING; should be in place; audit if necessary.
Wastewater treated & disposed by local government? | c | c | c
What method(s) used to dispose of solid waste? | c | c | c
Office of Environmental Health Items
Food Inspection Report Items
Food (PHF) Temperature / Time Requirements - Opening
Food is received at proper temperatures when delivered | c | c | c
Food appears in good condition, no signs of alteration, damage, or contamination when delivered (ex. swollen canned food.) | c | c | c
Ready to eat foods are stored separately or above raw animal products and unwashed produce | c | c | c
Food items stored inside the refrigerator unit are covered with approved material and protected from overhead contamination | c | c | c
Food is prepared / washed in a food preparation sink or other Health Department approved sink | c | c | c
Potentially hazardous foods that are in a reduced oxygen package (ROP) have not exceeded the “USE BY” date | c | c | c
Ensure Proper Cooling is utilized for Cooked / Prepared Food (135° F - 70° F in 2 hrs. / 70° F - 41° F in 4 hrs.) | c | c | c
Verify Cold Hold Refrigerators are maintained at (41° F) / Time Control | c | c | c
The 3 compartment or manual warewashing sink set up properly when actively washing utensils (1st compartment: warm water 100°F; 2nd compartment: rinsing; 3rd compartment: sanitizer with approved concentration.) | c | c | c
Approved sanitizer solution and correct test strip/kit available and maintained on site | c | c | c
All food utensils have enough contact time with the sanitizer (chlorine: 30 seconds; iodine: 1 minute; quaternary ammonium: 1 minute) | c | c | c
After sanitizing, equipment and utensils are air dried or used after enough draining before use and are not cloth dried | c | c | c
Mechanical dishwasher or warewashing machines in good repair and comply with manufacturer specifications on water temperature and sanitizer concentration | c | c | c
Food contact surfaces (ex. cutting boards, food preparation tables) and equipment have been cleaned and are cleaned and sanitized once every four (4) hours or as required | c | c | c
All sinks, except hand sink, are fully operable with hot water (120°F) and cold water under pressure at each faucet | c | c | c
Hand wash sink and lavatories are fully operable with warm water (100°F -108°F) and cold water under pressure | c | c | c
Floor drains and floor sinks are in good working order | c | c | c
Grease trap or interceptor is maintained clean and good working condition | c | c | c
Facility is free from insects (flies, cockroaches, ants) and rodent infestation (insects and rodents will be present where areas where not adequately cleaned prior) | c | c | c
All equipment (i.e. stoves, refrigerators, shelves, food preparation tables, cutting board, sinks, etc.) is clean and in good repair | c | c | c
Damaged or inoperable food equipment and utensils have been repaired, replaced or removed | c | c | c
Thermometers calibrated, available and in good repair | c | c | c
Hood, grease filters, make-up air vents are clean, installed properly, and well maintained | c | c | c
Plumbing fixtures such as faucets and drain-pipes are in good repair (i.e. not leaking or clogged | c | c | c
Verify Hot Holding locations are maintained at (135° F) / Time Control | c | c | c
Verify Proper Cooking Temperatures per PHF | c | c | c
Verify Rapid Reheating (165° F in 2 hrs.) standards are adhered to | c | c | c
Food (PHF) Temperature / Time Requirements - Closing
Verify all food prep areas have been properly cleaned and sanitized to avoid mold and bacteria growth | c | c | c
Verify fryers have been properly cleaned and sanitized to avoid mold and bacteria growth | c | c | c
All drains are properly cleaned and sanitized | c | c | c
Floors have been cleaned and sanitized with special attention around and under equipment | c | c | c
If coolers are emptied and turned off, doors are left open for air circulation to prevent mold and bacteria | c | c | c
Utensils are properly sanitized and stored | c | c | c
Linens are properly cleaned and stored in a manner to remain free of dust, insect and rodent contact | c | c | c
Grease trap or interceptor is maintained clean and good working condition | c | c | c
Ventilation hoods are clean and free of grease to prevent mold bacteria | c | c | c
All equipment (i.e. stoves, refrigerators, shelves, food preparation tables, cutting board, sinks, etc.) is clean and in good repair | c | c | c
Verify ice machines/makers are adequately cleaned | c | c | c
Verify trash receptacles are cleaned to prevent insect or rodent infestation | c | c | c
Personnel / Handling / Source Requirements
Personnel with Infections Restricted / Excluded | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Proper Hand Washing / Proper Handling of Ready-To-Eat Foods | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Good Hygienic Practices (Eating / Drinking / Smoking / Other) | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Approved Source / Sound Condition | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Food Protected during Storage, Display, Transportation, Service | c | c | c | Addressed above
Cross-Contamination of Raw / Cooked Foods / Other | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Demonstration of Knowledge / Person in Charge | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Hot and Cold Water Under Pressure / Sufficient Capacity | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Facility and Equipment Requirements
Equipment Adequate to Maintain Product Temperature / Accurate Thermometers Provided | c | c | c | Addressed above
Hand Washing Facilities Adequate / Accessible with Soap & Towels | c | c | c | Addressed above
Evidence of Rodent / Insects Contamination / Other Animals / Outer Openings Protected | c | c | c | Addressed above
Toxic Items Properly Used / Stored / Labeled | c | c | c | Addressed above
Manual / Mechanical Warewashing and Sanitizing at (XX) ppm/temp. | c | c | c | Addressed above
Approved Water Supply / Sewage Disposal Systems / Cross Connections | c | c | c | Addressed above
Food Contact Surfaces of Equipment and Utensils Cleaned / Sanitized / Good Repair | c | c | c | Addressed above
Date Marking: Customer Advisory (Heimlich / Raw Shellfish Warning / Buffet Plate | c | c | c | Addressed above
Other
Original container, no misbranding, honestly presented, properly labeled | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Thermometers provided and conspicuous | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Food storage, thawing, proper signage, other food protection conditions | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
In-use food or ice dispensing utensils properly stored & Used | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Food or ice contact surfaces properly designed, constructed, maintained, installed, located, ANSI approved | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Non-food contact surfaces properly designed, constructed, maintained, installed, located, ANSI approved | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Accurate thermometers, chemical test kits provided, flow pressure gauges, data plates, alarms operating | c | c | c | Addressed above
Equipment and utensils pre-flushed, scraped, soaked | c | c | c | Addressed above
Wash; rinse water clean, proper temperature | c | c | c | Addressed above
Dishwashing facilities properly designed, constructed, maintained, installed, located, operated | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Wiping cloths clean, use restricted, rinsed / stored in proper sanitizer | c | c | c | Addressed above
Non-food contact surfaces of equipment and utensils clean | c | c | c | Addressed above
Proper storage and handling of clean sanitized equipment & utensils | c | c | c | Addressed above
Single-service articles properly stored and dispensed | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
No re-use of single service articles, except non-potentially hazardous packaged item | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Plumbing properly installed and maintained, inspected where required | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Toilet rooms enclosed, self-closing doors; fixtures, good repair, clean; proper waste receptacles | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Containers / receptacles / compactors, covered, adequate number, insect / rodent proof, clean | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Outside storage area / enclosures properly constructed, clean, located on proper surface, drained | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Floors, walls, ceilings in good repair, clean, constructed properly | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Lighting provided as required, fixtures shielded properly | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Rooms and equipment vented as required | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Dressing rooms / lockers adequate, clean, used | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Premises maintained free of litter, unnecessary articles removed, storage in an orderly manner | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Cleaning / maintenance equipment properly stored | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Authorized persons only / hair restraints / jewelry-fingernails / food handler permits | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Complete separation from living / sleeping quarters, laundry facilities | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Clean / soiled laundered items properly stored | c | c | c | Addressed above
Proper number of sinks: mop sinks, dishwashing sinks, food preparation sink, used for intended purposes | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Lodging Establishments - Inspection Report Items Closing
Oklahoma Administrative Code 310:285 - Guidelines
Ensure rooms are adequately cleaned with attention to food residue under furniture to deter insects and rodents | c | c | c
Determine a material dollar amount for assets | c | c | c
Inventory assets considered materials (operations may have this established. If so, they will have an inventory record of material items) | c | c | c
Inventory material items in each guest room | c | c | c
Inventory material items in employee work, storage and wash rooms | c | c | c
Verify in employee work areas, drains, lint traps and exhaust vents are adequately cleaned to prevent rodent and insect infestation | c | c | c
If food service areas exclusive to the hotel exists, ensure food is properly discarded or stored | c | c | c
Verify food service equipment has been properly cleaned | c | c | c
Verify food prep areas are cleaned and sanitized | c | c | c
Verify drains are adequately cleaned | c | c | c
Verify trash receptacles are clean to prevent insect and rodent infestation | c | c | c
Verify ice machines are adequately cleaned on each floor and drains have been sanitized to prevent insect infestation | c | c | c
Verify vending machines have been dropped by the vendor to remove all currency and change | c | c | c
Facility Maintained - Safety, Health, Comfort of Guests | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Plumbing - Installed/maintained per OK Plum. Lic. Act. BOC or app.law | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Electrical - Installed/maintained per OK Electr. Lic. Act. BOCA or app. Law | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Lighting Adequate; Suitable for Reading | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Fire Safety - Certified Fire Extinguishers | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Fire Safety - Smoke Detectors; Maintained | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Fire Safety - Fire Escapes: Good Repair, Lighted, Directions | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Room Ventilation - Forced Air, Windows, Screened | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Toilet - Ventilation, Good Repair, Min # per floor, No Carpet, Clean | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Vermin - none present | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Animals/Fowl - Restrictions Applied | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Food Service - Limited Food Products | c | c | c | Addressed above
Food Service - Equipment | c | c | c | Addressed above
Food Service - Food Protected, Discarded | c | c | c | Addressed above
Ice - Automatically Dispensed; Operator Dispensed | c | c | c | Addressed above
Ice - Customer Self-Service (prior to 4/18/1985) | c | c | c | Addressed above
Laundry - Clean and Dirty Separate, Clean Area; Hand Sink | c | c | c
Housekeeper Cart - Clean and Dirty Separated; Multi-use Protected | c | c | c
Rooms - Furnishings; Clean, Good Repair | c | c | c
Rooms - Linens; 2 sheets, 1 mattress cover, pillow cover or double cased | c | c | c
Rooms - Service; Individual soap//towels, linens, towel, soap changed per occupancy | c | c | c
Multi-use Utensils; Removed After Each Occupancy; Sanitized | c | c | c
Single Use Utensils; stored, handled, used only once | c | c | c
Multi-use Utensils; Dishwashing Facilities Approved; Separate Area; Hand Washing | c | c | c
Employees - No Communicable Disease/Infection | c | c | c
Swimming Pool - Maintained Per OAC 310:315 & 310:320 | c | c | c
Sewage - Disposed Per Oklahoma Department of Environmental Quality (ODEQ) Regulations | c | c | c
Water - Supplied Per ODEQ Regulations | c | c | c
License - Valid, Posted | c | c | c
Public Bathing Inspection Report Items
Oklahoma Administrative Code 315 & 320 - Guidelines
Pool / Spa
In this area, these items are more about maintenance. If the casino chooses to take this time to do repairs that would be great. My input in this section is the drains should be sanitized to remove odors from building up over time and to resist insect infestation. Also for consideration it to turn the toilet water shutoff valve off then drain the toilet. Depending on the length of the shutdown, sitting water will stain the toilets.
Enclosure: Height, no gaps, over 4", good repair: SC/SL gates | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Lifeguard(s), CPR, 1st Aid Personnel; Certifications; "No Guard" | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Signs: Bathing load/diving/rules/chemicals/spa | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
First Aid Kit Available; Emergency telephone numbers posted | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Ring buoys, Shepherd's crook, backboard; lifeline: telephone | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Decks, gutter, pool finish: clean, good repair | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Depth markers; Stairs stripes (pools); Main drain contrasting color Recirculation inlets: Adjusted properly, open | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Outlets: Anti-vortex plate or min. 144in2 grate | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Skimmers: Weirs and baskets installed; clean and operating | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Ladders, handrails, coping, etc. in good repair | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Diving Board: Height, projection over water, good repair | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Circulation / Disinfection
Piping and valves labeled, operating instruction available | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Main drain and skimmer(s) valved separately | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Pump and filter: Approved, good repair, operating | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Pump strainer: 2 baskets in good condition, not clogged | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Gauges operable: Filter inlet and outlet, strainer; slight glass | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Flow rate & pool volume posted; operating instructions available | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Flow meter, flow rate OK: Reg: gpm Obs.: gmp | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Disinfectant/pH controls; approved, operating: Gas CI OK | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Spa therapy piping independent of filter system | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Thermometers: 3 required at heated facilities (1 handheld) | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
No cross conn., pool makeup, hose bib: Backwash discharge OK | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Chemicals: original containers, labeled, stored safely | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Bath
Floors, Walls, Ceiling, Furniture, clean, good repair | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Showers: Warm water, temperature control, good repair, soap | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Toilets: Clean, good repair, supplies | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Water Quality
Records kept: Required testing done; Inspection posted | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Turbidity: Water clear, main drain visible | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Free available chlorine between 1.0 & 5.0 PPM / Spa 1.0 & 10 PPM | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Combined chlorine equal to or less than 0.2 PPM | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
pH between 7.2 and 7.8 | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Total Alkalinity between 80 and 200 PPM | c | c | c | This item is more appropriate for an initial opening not a reopening. Addressing these items is more of an operations maintenance concern.
Calcium hardness between 50 and 500 PPM | c | c | c
Water balanced within 0.5 pH units | c | c | c
Other: Cyanuric acid 10-100 PPM; TDS, metals controlled at spa | c | c | c
Temperature of spa not over 105 degrees F | c | c | c
Other
Electrical: GFI's, bulbs protected, no exposed wiring | c | c | c
Lighting, ventilation, pool & air temperature comply | c | c | c
Any condition, act or omission endangering health and/or safety | c | c | c
Salon Inspection Report Items
State Board of Cosmetology and Barbering Regulations, OSHA, and other appropriate state standard - Guidelines
Restrooms
Toilets and washbasins adequate, convenient, accessible, designed, installed | c | c | c
Toilet tissue, soap in dispensers and single service paper towels or electric hand dryer | c | c | c
Covered refuse containers provided, clean | c | c | c
Proper fixtures in good repair, clean | c | c | c
Restrooms not used as storage rooms | c | c | c
Equipment and Facilities
Floors/walls/ceilings properly constructed, good repair, clean | c | c | c
Adequate lighting provided as required | c | c | c
Adequate ventilation, no excess heat or odors | c | c | c
Adequate handwashing stations with soap and paper towels | c | c | c
No food in refrigerators used to store salon products | c | c | c
Foods or beverages prepared, stored, or sold on premises | c | c | c
Free from insects, rodents, or any type of animal except for trained service animals | c | c | c
Personnel
No person with infection or communicable disease attended or working | c | c | c
Clean outer garments, good hygienic practices, no eating/smoking | c | c | c
Hands washed with soap and water before serving each customer | c | c | c
Storage
Cabinet for clean linens and towels are adequate, clean | c | c | c
Covered receptacle provided exclusively for soiled linens and towels | c | c | c
Water / Sewer / Plumbing
Water supply adequate, safe | c | c | c
Hot/Cold water under pressure, provided as required | c | c | c
Approved method of sewage disposal | c | c | c
Approved plumbing fixtures, clean, maintained | c | c | c
No potential connection or back siphonage; backflow | c | c | c
Garbage Disposal
Adequate number of covered refuse containers provided, clean | c | c | c
Outside disposal area and enclosure properly constructed, clean | c | c | c
Utensils / Equipment - Handling
Headrest covered with clean towels or paper | c | c | c
All liquids, creams and other products are kept in clean, closed containers. All products used on client are dispensed by a spatula, spoon, squeeze bottle, pump, dropper, or similar dispenser so the remaining product is not contaminated. | c | c | c
Attached equipment, fixtures, properly constructed, maintained, cleaned, and disinfected | c | c | c
All chemical containers are properly labeled | c | c | c
Universal precautions used | c | c | c
Utensils / Equipment - Sanitizing
Utility sink provided for instrument cleaning | c | c | c
Equipment used on customer cleaned and disinfected after each customer | c | c | c
Utensils used on customers cleaned and sanitized after each customer | c | c | c
Proper use of recommended disinfection techniques/solutions; methylmethacrylate (MMA) prohibited | c | c | c
Disinfected utensils kept in sanitary covered containers when not in use | c | c | c
Linen and towels properly sanitized when washed on premises | c | c | c
EPS - Registered disinfectant used - Name: | c | c | c
Autoclaves are cleaned and serviced at the frequency recommended by the manufacturer | c | c | c
Paraffin wax machine is clean | c | c | c
Single-use items such as: emery boards, disposable files, etc. are discarded after each client | c | c | c
Ventilation
Adequate ventilation, no excess heat or odors | c | c | c
Maintenance and Operation
Material Safety Data Sheets (MSDS) available for supplies and chemicals | c | c | c
Standard operating procedures (SOP's) in place | c | c | c
Other | c | c | c
License Requirements
Documentation
Agreements and/or MOU with local:
EMS | c | c | c
Fire Department | c | c | c
Police | c | c | c
Annual Environmental Survey - Office of Environmental Health | c | c | c
Building Specifications on Modular Units | c | c | c
Tribal Police / City / County Cross-Deputization | c | c | c
Tribal / State Tax Commission Licenses
Alcohol | c | c | c
Retail | c | c | c
Tobacco | c | c | c
Communicable Diseases Control Plan | c | c | c
Construction “Certificate” (Substantial Completion) | c | c | c
Construction Code for Electrical, Building, Plumbing, and Mech. | c | c | c
Casino Policies and Procedures | c | c | c
TGRA MICS / Rules & Regulations / Polices & Procedures | c | c | c
CPR / First Aid / AED training complete for Security | c | c | c
Emergency Response / Evacuation Drills / Training | c | c | c
Employee List | c | c | c
Environmental Health Food Inspection Report | c | c | c
Environmental Survey | c | c | c
Fire Alarm Systems Testing | c | c | c
Fire Extinguisher Service - Date | c | c | c
Fire Hydrant Test Flow | c | c | c
Food Handling Training | c | c | c
Floor Plan | c | c | c
Generator Testing | c | c | c
Inspection Plan | c | c | c
Insurance | c | c | c
Organizational Chart | c | c | c
Number of Security Guards on all shifts | c | c | c
Surveillance Plan | c | c | c
Preventive Maintenance Plan | c | c | c
Risk Management Inspection Checklist | c | c | c
Risk Management Occupancy Certification | c | c | c
Sprinkler Testing | c | c | c
Trust Land Verification | c | c | c
Postings
Facility License - Alcohol | c | c | c
Individual License - Alcohol | c | c | c
Age Limit | c | c | c
Tribal / State Tax Commission Licenses | c | c | c
TGRA Facility License | c | c | c
Elevator Inspection Certification (in elevator or filed in GM office) | c | c | c
Emergency Evacuation Maps | c | c | c
Equal Opportunity Employment | c | c | c
Occupancy Signs at entrances | c | c | c
Problem Gambling Information | c | c | c
Rules for Play of and Prizes for Covered Games | c | c | c
Title 31 Information | c | c | c
Tort / Claims information | c | c | c
Compliance
Cage
IRS Forms | c | c | c
Multiple Transaction Forms (MTL) | c | c | c
No Personal Items | c | c | c
Title 31 Forms | c | c | c
Cards
Card Control Logs | c | c | c
Card Storage / Destruction | c | c | c
Card / Table Games Forms (Fills / Credits) | c | c | c
Information Systems
Adequate Power | c | c | c
Adequate Server and Network Racks Installed | c | c | c
All Networking and Phone Cabling Installed According to IEEE Standards | c | c | c
All Wall Mounted Network and Phone Equipment Installed According to IEEE Standards | c | c | c
Proper Access Control to IDF Closets in Place | c | c | c
Proper Access Control to Server Room in Place | c | c | c
Proper Cooling | c | c | c
Machines
EGMs Secured to Base | c | c | c
End User Testing Results | c | c | c
Keys | c | c | c
Meal Tickets | c | c | c
UPS / Surge Protector Units (EGMS) | c | c | c
UPS / Surge Protector / Emergency Power Back-Up (Servers) | c | c | c
TICS
Accounting Day | c | c | c
Drop / Count Team Schedules | c | c | c
Minimum Bankroll Formula | c | c | c
Tip Agreement | c | c | c
Tip Containers | c | c | c
Tip Reporting | c | c | c
Variance (Overages / Shortages) Tracking | c | c | c
Other
ATM Maintenance | c | c | c
Kiosks | c | c | c
GMARs (Gaming Machine Access Report) | c | c | c
Player’s Club
Comps | c | c | c
Hopper Inspection | c | c | c
Lost Players Club Card Box | c | c | c
Marketing Collateral (Promotions) | c | c | c
No Personal Items | c | c | c
Soft Count
Clear Containers for Supplies | c | c | c
Clear Tables | c | c | c
Count Forms | c | c | c
Currency Counters Tested | c | c | c
EGM Canisters (# marked) | c | c | c
Drop and Count Equipment (uniforms, carts) | c | c | c
No Items Hindering Surveillance View | c | c | c
No Personal Items | c | c | c
No Storage Boxes | c | c | c
Trash Receptacles – See thru | c | c | c
Security
Security Staffing Schedule | c | c | c
Firearm Certification | c | c | c
Key Inventory (Electronic Key System?) | c | c | c
Surveillance Audio/Camera in Holding Room | c | c | c
Key Logs | c | c | c
Magnetic Locks | c | c | c
Surveillance
A/C (Dedicated?) | c | c | c
Audio in Count Room | c | c | c
Camera Views / Placement (Cage, Vault, Count Room, Games, Tables, POS) | c | c | c
Emergency Power Back-up (Dedicated?) | c | c | c
Logs (Event / Maintenance / Access) | c | c | c
Recorders (Date / Time Generators) | c | c | c
Retention Schedule | c | c | c
Staffing Schedule | c | c | c
Training on Games | c | c | c
Training
Blood Borne Pathogens | c | c | c
Check Cashing / Policy | c | c | c
Counterfeit Currency / Policy | c | c | c
Exclusion / Policy | c | c | c
External Defibrillators (AEDs) | c | c | c
Food Handling | c | c | c
Fire Extinguishers | c | c | c
Hazardous Chemicals | c | c | c
Prize Claims | c | c | c
Problem Gambling | c | c | c
Tort Claims | c | c | c
Vault
Cash Inventory | c | c | c
Chip Inventory | c | c | c
Clear Containers for Supplies | c | c | c
Clear Top Shelf | c | c | c
Currency Counter Tested | c | c | c
No Items Hindering Surveillance View | c | c | c
No Personal Items | c | c | c
No Storage Boxes | c | c | c
Hard lid on vault ceiling | c | c | c
Trash Receptacles – See thru | c | c | c
Other Areas To Be Audited/Inspected
Basements / Attics / Storage | c | c | c
Business Centers | c | c | c
Convention Centers | c | c | c
Electrical / Mechanical / Boiler / HAVC Rooms | c | c | c
Events / Entertainment Centers | c | c | c
EVS / Housekeeping Rooms | c | c | c
Facility/Maintenance Building | c | c | c
Fitness Centers | c | c | c
Food and Beverage (bars, restaurants, cafes, drink stations, etc.) | c | c | c
Hotel Rooms | c | c | c
Meeting Rooms | c | c | c
Office Space (HR, Admin, etc.) | c | c | c
Pool Areas | c | c | c
Restaurants | c | c | c
Retail Areas | c | c | c
Secured Areas
Cage | c | c | c
Electrical Rooms | c | c | c
Gaming Areas | c | c | c
High Limit Payout | c | c | c
IT Rooms | c | c | c
Man-trap | c | c | c
Security Offices | c | c | c
Server Rooms | c | c | c
Soft Count Rooms | c | c | c
Surveillance Rooms | c | c | c
Tech Rooms | c | c | c
Vault | c | c | c
Spa | c | c | c
Stages | c | c | c